## Summary
Complete the Schedule of Tendered Lump Sum (the Schedule) by inserting where indicated for each Schedule Item the Tenderer’s assessed quantity as applicable, tender rate, and the tendered amount (product of the assessed unit quantity and the applicable rate). Any quantities illustrated herein are estimates for Tenderer's information only, and the Principal accepts no responsibility for the accuracy of the quantities presented. The quantities must be assessed by the Tenderer and quantities so assessed inserted in the tender. The Superintendent will not accept from the Contractor any claim for additional payment due to inaccuracies in the quantities presented herein. Any lump sums tendered in respect of individual schedule items shall not form part of the Contract. The rates and amounts provided shall be used to assess tenders, calculate progress payments and evaluate variations. All amounts are exclusive of GST.
Where an item is expressly stated as a Provisional Quantity (PQ) or Provisional Sum (PS) in the Schedule of Tendered Lump Sum, the relevant sum(s) included in the Contract Sum shall in themselves not be payable, but where at the direction of the Superintendent an item of work to which the PQ or PS relates is to be carried out, the item shall be paid at the tendered rate for the measured quantity for a PQ item and at the agreed/accepted cost for a PS item, and the difference in items value added or subtracted from the Contract Sum. The Contractor shall check and verify all formulas for accuracy of totals.
SCHEDULE OF TENDERED LUMP SUM
PRIORS CREEK DEVELOPMENT
CONTRACT T-TRC2023-12
ITEM | DESCRIPTION | AMOUNT
Separable Portion A (SPA)
Civil Works -road & subdivision | lump sum | 0 | 0
Electrical Civil Works- new & existing road reserve | lump sum | 0
| Total - Separable Portion A (excl. GST) | 0
| GST (10%) | 0
| Total Separable Portion A (inclusive GST) | 0
Separable Portion B (SPB) ( if ordered)
Civil Works - Parklands & Toilet Block | lump sum | 0 | 0
Civil Works - Carpark | lump sum | 0 | 0
Landscape Works | lump sum | 0
Electrical Services within Parkland and Lot 1 | lump sum | 0
Electrical Services within Carpark - Lot 3 | lump sum | 0
| Total - Separable Portion B (excl. GST) | 0
| GST (10%) | 0
| Total Separable Portion B (inclusive GST) | 0
Total - Separable Portion A + Separable Portion B ( if ordered)
| Total - SPA+SPB (excl. GST) | 0 | 0 | tenderers to check all calculations/formulas
| GST (10%) | 0 | 0
| Total SPA + SPB (inclusive GST) | 0 | 0

## Civil Road&Subdivision_SPA
SCHEDULE OF TENDERED LUMP SUM
Stage 1 - Site Preparations - Separable Portion A (SPA) Civil Works - Roadworks and Sub-division (excluding carpark, parkland services & civil works, and toilet block )
Priors Creek Development
Contract No. T-TRC2023-12
| SUMMARY |  |  | Amount ($)
1.00 | Preliminaries |  |  | 0
2.00 | Earthworks |  |  | 0
3.00 | Roadworks |  |  | 0
4.00 | Stormwater Drainage |  |  | 0
5.00 | Water Reticulation |  |  | 0
6.00 | Sewerage |  |  | 0
7.00 | Soil & Water Management |  |  | 0
| Total |  |  | 0 |  | tenderers to check all calculations
| PRELIMINARIES | Unit | Rate | Qty | Amount ($)
1.01 | Setting out of works | Item |  | 1 | 0
1.02 | “As Constructed” documentation | Item |  | 1 | 0
1.03 | Construction industry levy and fees | Item |  | 1 | 0
1.04 | Traffic Management | Item |  | 1 | 0
1.05 | Locating and potholing of existing services | Item |  | 1 | 0
1.06 | Temporary Fencing | Item |  | 1 | 0
1.07 | Demoltion - Stormwater pipes, removal of 85m | Item |  | 1 | 0
| Total Preliminaries |  |  |  | 0
2.00 | EARTHWORKS | Unit | Rate | Qty | Amount ($)
2.01 | Clearing and grubbing including disposal of cleared material to dump (PS) | m2 |  | 7761 | 0
2.02 | Stripping of topsoil (150mm depth) to stockpile | m3 |  | 1165 | 0
2.03 | Earthworks (Solid Cut Volume)
| a) Cut to Fill (Within this stage) | m3 |  | 1306 | 0
| b) Cut to Stockpile in SPA Parkland | m3 |  | 1101 | 0
| c) Removal of unsuitable material (Soft Material) (PQ) | m3 |  | 100 | 0
| d) Removal of and treatment of contaminated material (PQ) | m3 |  | 100 | 0
| e) Excavation and removal of rock (PQ) | m3 |  | 100 | 0
2.04 | Final trim and grade
| a) Allotments & Footpaths | m2 |  | 5587 | 0
| b) Batters | m2 |  | 500 | 0
2.05 | Revegetation
| a) Drill seeding on allotments / footpaths | m2 |  | 3658 | 0
| b) Hydromulching of batters | m2 |  | 0 | 0
2.06 | Soil testing (Geotechnical inspections and testing to Level 1) | m3 |  | 3568 | 0
| Total Earthworks |  |  |  | 0
3.00 | ROADWORKS | Unit | Rate | Qty | Amount ($)
3.01 | Grade and trim pavement box | m2 |  | 3110 | 0
3.02 | Supply, load, cart, spread and compact 125mm sub base course material CBR 60 (solid fill measure) | m3 |  | 388 | 0
3.03 | Supply, load, cart, spread and compact 125mm base course material CBR 80 (solid fill measure) | m3 |  | 283 | 0
3.04 | Grade, trim and prepare surface for sealing | m2 |  | 1967 | 0
3.05 | Seal pavement (including prime coat, tacking coats trimming and preparing surface)
| a) 30mm Asphalt surfacing to roadways | m2 |  | 1334 | 0
| b) 50mm Asphalt surfacing to roadways | m2 |  | 633 | 0
3.06 | Construction of kerb and channel
| a) Layback Kerb and Channel | m |  | 0 | 0
| b) Barrier Kerb and Channel | m |  | 517 | 0
| c) Barrier Kerb | m |  | 142 | 0
| d) Maintenance Strip Kerb | m |  | 280 | 0
| e) Concrete Invert | m |  | 0 | 0
3.07 | Construct kerb ramps | No |  | 14 | 0
3.08 | Cut back and removal of existing pavements | m2 |  | 617 | 0
3.09 | Tactile Ground Surface Indicators | Item |  | 1 | 0
3.10 | Paths - Refer to Landscaping Qtys
3.11 | Supply and Install Bollards - refer to landscaping schedule
3.12 | Construct concrete island infill - refer to landscaping schedule
3.12 | Construct concrete mountable islands | m2 |  | 240 | 0
3.13 | Construct porphry stone roadway paving | m2 |  | 270 | 0
3.14 | Subsurface Drainage | m |  | 1001 | 0
3.15 | Subsurface Flushing Points | No |  | 50 | 0
3.16 | Provide linemarking, RRPMs, painted kerbing and islands in accordance with project drawings, including removal of superfluous linemarking | Item |  | 1 | 0
3.17 | Supply and Installation of Signage
| a) Parking | No |  | 13 | 0
| b) Regulatory (speed, giveway roundabout) | No |  | 6 | 0
| c) Hazard (Chevron, splitter) | No |  | 1 | 0
3.18 | Soil testing in accordance with specification and Australian Stds
| a) Subgrade CBR (allow 1 per 100m of road) | No |  | 3 | 0
| b) Subgrade compaction (allow 1 per 100m of road) | No |  | 3 | 0
| c) Pavement compaction (allow 1 per 100m of road per layer) | No |  | 6 | 0
| d) Pavement quality (allow 1 per 400m3 of road per layer) | No |  | 2 | 0
| e) AC core testing | No |  | 3 | 0
3.19 | Allowance for adjusting kerbs etc for Railway Lane for change of directions | Item |  | 0 | 0
| Total Roadworks |  |  |  | 0
4.00 | STORMWATER DRAINAGE | Unit | Rate | Qty | Amount ($)
4.01 | Pipelines - excavate for supply, lay, backfill and dispose of surplus material
| a) 150 dia uPVC | m |  | 0 | 0
| b) 225 dia uPVC | m |  | 0 | 0
| c) 375 dia BlackMax | m |  | 134 | 0
| d) 450 dia BlackMax | m |  | 30 | 0
| e) 600 dia BlackMax | m |  | 67 | 0
| f) 900x600 RCBC | m |  | 13 | 0
4.02 | Construction of kerb inlet pits complete
| a) Ongrade/Sag - Lintel Type 'S' | No |  | 8 | 0
| b) 900x900 grated kerb inlet pit to parking | No |  | 0 | 0
4.03 | Construction of field inlet pits complete
| a) 900 x 900 Concrete Field Inlet Pit (nominal in landscaping area ) | No |  | 0 | 0
| b) 600 x 600 Everhard Field Inlet Pit (nominal in landscaping area ) | No |  | 0 | 0
| c) 900 x 900 FNQROC Field Inlet Pit | No |  | 0 | 0
| d) 1800 x 900 wide FNQROC Field Inlet Pit with 2 grates | No |  | 1 | 0
4.04 | Concrete Invert in New Drain | m |  | 0 | 0
4.05 | Construction of headwalls complete
| a) 375 dia | No |  | 1 | 0
| b) 600 dia | No |  | 1 | 0
| c) Modify existing for new 600 dia RCP | No |  | 1 | 0
| d) 1200 dia RCP | No |  | 0 | 0
4.06 | Allowance for rock removal for stormwater and sewer trenching | Item |  |  | 0
4.07 | Allowance for backfill treatment of existing Stormwater outlets | Item |  |  | 0
4.08 | Grouted Stone Pitching or dumped rock scour treatment (PQ) | m2 |  | 70 | 0
4.09 | Supply and install conduit under pathway 100mm dia uPVC SN8 | m |  | 72 | 0
4.10 | CCTV of new drainage lines | No |  | 1 | 0
4.11 | VERNON STREET DRAINAGE UPGRADE - if orderded
| a) Additional Traffic & Pedestrian Management | Item |  | 1 | 0
| b) Demolition / Removal of existing Stormwater Pipes and Pits | Item |  | 1 | 0
| c) Excavate and backfill for pipes and pits | m3 |  | 1440 | 0
| d) Excavation of existing road | m2 |  | 320 | 0
| e) Grade and trim pavement box | m2 |  | 320 | 0
| f) Supply, load, cart, spread and compact 125mm sub base course material CBR 45 (solid fill measure) | m3 |  | 40 | 0
| g) Supply, load, cart, spread and compact 125mm base course material CBR 60 (solid fill measure) | m3 |  | 40 | 0
| h) Layback Kerb and Channel | m |  | 10 | 0
| i) Soil testing - Subgrade CBR (allow 1 per 100m of road) | No |  | 2 | 0
| j) Soil testing - Subgrade compaction (allow 1 per 100m of road) | No |  | 2 | 0
| k) Soil testing - Pavement compaction (allow 1 per 100m of road per layer) | No |  | 4 | 0
| l) Pipelines - supply, lay, dispose of surplus material 1050 RCP | m |  | 72.9 | 0
| m) Pipelines - supply, lay, dispose of surplus material 1200 RCP | m |  | 47.2 | 0
| n) Construction of kerb inlet pits complete to suit 1050 and 1200RCPs (approx 3m deep) - Ongrade/Sag - Lintel Type 'S' | No |  | 3 | 0
| o) Construction of Manholes - Rectangular, Trafficable | No |  | 3 | 0
| p) 1200 RCP headwall and dumped rock scour protection at Priors Creek Outlet | No |  | 1 | 0
| q) CCTV of new drainage lines | No |  | 120 | 0
| Total Stormwater |  |  |  | 0
5.00 | WATER RETICULATION | Unit | Rate | Qty | Amount ($)
5.01 | Supply, excavate for, lay, join, test and backfill
| a) 100mm dia DICL | m |  | 55 | 0
| b) 100mm dia uPVC pipe Class 16 | m |  | 372 | 0
5.02 | Supply and install Hydrants including thrust blocks
| a) 100mm dia | No |  | 6 | 0
5.03 | Supply and install Valves including thrust blocks
| a) 100mm dia | No |  | 8 | 0
5.04 | Supply and install Bends incl thrust blocks
| a) 100mm dia | No |  | 8 | 0
5.05 | Supply and install Tees & Wyes including thrust blocks
| a) 100 x 100 dia | No |  | 5 | 0
5.06 | Supply and conduit under pathway 80mm dia uPVC Slass 16 | m |  | 25 | 0
5.07 | Supply and Council Water Meter | No |  | 3 | 0
5.08 | Supply and Install Endcaps
| a) 100mm dia | No |  | 4 | 0
5.09 | Hydrostatic Testing of water mains | Item |  | 1 | 0
5.10 | Connections to existing Council mains | No |  | 2 | 0
5.11 | Disinfection, chlorination and chemical & microbiology testing | Item |  | 1 | 0
| Total Water Reticulation |  |  |  | 0
6.00 | SEWERAGE | Unit | Rate | Qty | Amount ($)
6.01 | Supply, excavate for, lay, join, test, backfill and dispose of surplus material
| a) 150mm Class SN 8 uPVC gravity sewer | m |  | 122 | 0
6.02 | Supply and construct house connection branches
| a) Type 'E1' | No |  | 0 | 0
| b) Type 'E2' on existing line | No |  | 1 | 0
| c) Type 'E2' | No |  | 1 | 0
| d) Type 'E' | No |  | 2 | 0
6.03 | Construct manholes complete | No |  | 3 | 0
6.04 | Testing of sewers | Item |  | 1 | 0
6.05 | Connection to existing Council System, including lining of existing manhole | No |  | 2 | 0
6.06 | Reinstatement of footpaths and roads | Item |  |  | 0
6.07 | CCTV of new sewerage lines | m |  | 122 | 0
| Total Sewerage |  |  |  | 0
7.00 | SOIL AND WATER MANAGEMENT | Unit | Rate | Qty | Amount ($)
7.01 | Erosion Control (PQ) |  |  |  | 0
| a) Construction of stabilised entry | No |  | 1 | 0
| b) Construction of rock check dam | No |  | 15 | 0
| c) Silt Fences | m |  | 250 | 0
| d) Stormwater inlet protection | No |  | 10 | 0
| e) Turf strips | m2 |  | 200 | 0
| f) Maintenance of erosion control measures | Item |  | 1 | 0
| Total Soil & Water Management |  |  |  | 0
Notes: Refer Summary Tab also for more information

## Elec_Road&subdivision_SPA
SCHEDULE OF TENDERED LUMP SUM
Stage 1 - Separable Portion A (SPA)
ELECTRICAL CIVIL WORKS- ROAD WORKS & SUBDIVISION
Priors Creek Development
Contract No. T-TRC2023-12
ITEM No | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT ($)
SUMMARY
1 | PRELIMINARIES |  |  |  | 0
2 | TRENCHING AND EXCAVATION FOR ELECTRICAL AND COMMS |  |  |  | 0
3 | ELECTRICAL CONDUITS SUBSTATION PLINTHS POLE FOOTINGS, ETC |  |  |  | 0
4 | NBNCO AND COMMUNICATIONS CONDUITS AND PITS |  |  |  | 0
| TOTAL |  |  |  | 0 | tenderers to check all calculations
PRELIMINARIES
1.01 | Setting out of works | 1 | Item | 0 | 0
1.02 | Marked up As Constructed drawings and bore logs, etc | 1 | Item | 0 | 0
1.3 | Traffic Management | 1 | Item | 0 | 0
1.4 | Locating and potholing of existing services | 1 | Item | 0 | 0
1.5 | Temporary Fencing where required | 1 | Item | 0 | 0
| TOTAL PRELIMINARIES |  |  |  | 0
TRENCHING AND EXCAVATION FOR ELECTRICAL AND COMMUNICATIONS
| Tree Removal | 0 | Item | #REF! | #REF!
| Cable Locator | 0 | lin m | #REF! | #REF!
| Potholing (add mobilisation and demobilisation costs) | 0 | location | #REF! | #REF!
| Cut sealed road / car park and reinstate | 0 | lin m | #REF! | #REF!
2.01 | Directional boring per conduit(Bore 60) | 78 | lin m | 0 | 0
2.02 | Directional boring per conduit(Bore 110) | 248 | lin m | 0 | 0
2.03 | Directional boring per conduit(Bore 110) comms | 83 | lin m | 0 | 0
2.04 | Directional boring per conduit(Bore 180) | 24 | lin m | 0 | 0
2.05 | Trench LV & Comms only in verge. Excavate trench 900 mm deep, 600 wide, sand, install conduit, sand fill, then backfill with tape and hard cover where required. | 27 | lin m | 0 | 0
2.06 | Trench LV & Comms only, road crossing. Excavate trench 1000 mm deep, 600 wide, sand, install conduit, sand fill, then backfill with hard cover full length, tape and kerb markers | 85 | lin m | 0 | 0
2.07 | Trench HV & LV / Comms trench, in verge. Excavate trench 1100 mm deep, 600 wide, sand, install conduit, sand fill, then backfill with tape and hard cover where required. | 521 | lin m | 0 | 0
2.08 | Trench HV & LV / Comms trench, road crossing. Excavate trench 1100 mm deep, 600 wide, sand, install conduit, sand fill, then backfill with hard cover full length, tape and kerb markers | 18 | lin m | 0 | 0
2.09 | Trench Comms only in verge. Excavate trench 700 mm deep, 300 wide, sand, install conduit, sand fill, then backfill with tape as per NBN Co specifications | 34 | lin m | 0 | 0
2.1 | Tench Comms only trench, road crossing. Excavate trench 850 mm deep, 300 wide, sand, install conduit, sand fill, then backfill with tape as per NBN Co specifications | 18 | lin m | 0 | 0
2.02 | Additional cost for thermal sand in southern region | 0 | lin m | #REF! | #REF!
2.02 | Additional cost for thermal sand in central region | 0 | lin m | #REF! | #REF!
2.02
| TOTAL TRENCHING AND EXCAVATION FOR ELECTRICAL AND COMMUNICATIONS |  |  |  | 0
ELECTRICAL CONDUITS SUBSTATION PLINTHS POLE FOOTINGS, ETC
3.01 | Conduit 150 mm class 6 underground electrical | 1071 | lin m | 0 | 0
3.02 | Conduit 100 mm class 6 underground electrical | 906 | lin m | 0 | 0
3.03 | Conduit 50 mm heavy duty underground electrical | 563 | lin m | 0 | 0
3.04 | Conduit Service 40 mm heavy duty underground electrical with 1 m extension into property | 2 | lin m | 0 | 0
3.05 | Conduit Service 80 mm heavy duty underground electrical with 1 m extension into property | 6 | lin m | 0 | 0
3.06 | Conduit Bend 150 mm 45 Deg / 1830 Radius electrical | 16 | Item | 0 | 0
3.07 | Conduit Bend 150 mm 15 Deg / 1830 Radius electrical | 8 | Item | 0 | 0
3.08 | Conduit bend 100 mm 45 Deg / 1830 Radius electrical | 23 | Item | 0 | 0
3.09 | Conduit bend 100 mm 15 Deg / 1830 Radius electrical | 16 | Item | 0 | 0
3.1 | Conduit bend 50 mm 90 Deg / 600 Radius electrical | 4 | Item | 0 | 0
3.11 | Conduit bend 50 mm 90 Deg / 300 Radius electrical | 23 | Item | 0 | 0
3.12 | Pit Electrical P4 cable pit with jointing unit for lights | 3 | Item | 0 | 0
3.13 | Distribution cabinet foundation | 2 | Item | 0 | 0
3.14 | 22 kV RMU foundation including paving, etc (excludes retaining walls) | 1 | Item | 0 | 0
3.15 | 22 kV substation foundation including paving, etc (excludes retaining walls) | 1 | Item | 0 | 0
3.16 | Major Road light pole footing (fixed base) | 11 | Item | 0 | 0
| TOTAL ELECTRICAL CONDUITS SUBSTATION PLINTHS POLE FOOTINGS, ETC |  |  |  | 0
NBNCO AND COMMUNICATIONS CONDUITS AND PITS
4.01 | Conduit P100 Comms, cleaned with draw rope, tape, etc to NBN Co specifications | 345 | lin m | 0 | 0
4.02 | Conduit P50 Comms, cleaned with draw rope, tape, etc to NBN Co specifications | 42 | lin m | 0 | 0
4.03 | Conduit Service P50 Comms conduit from pit with bends into property with 1 m extension into property with capped ends, as per NBN Co specifications | 8 | Item | 0 | 0
4.04 | Conduit Bend P100 45 Deg / 800 Radius comms | 5 | Item | 0 | 0
4.05 | Conduit Bend P100 30 Deg / 800 Radius comms | 1 | Item | 0 | 0
4.06 | Conduit Bend P100 15 Deg / 800 Radius comms | 30 | Item | 0 | 0
4.07 | Conduit Bend P50 90 Deg / 300 Radius comms | 4 | Item | 0 | 0
4.08 | 50mm PVC underground communications conduit including conduit bends where required | 60 | lin m | 0 | 0
4.08 | Pit Type C2 comms pit with gasket and lid to NBN Co specifications | 1 | Item | 0 | 0
4.09 | Pit Type C5 comms pit with gasket and lid to NBN Co specifications | 5 | Item | 0 | 0
4.1 | Pit Type C8 comms pit with gasket and lid to NBN Co specifications | 1 | Item | 0 | 0
| TOTAL - NBNCO AND COMMUNICATIONS CONDUITS AND PITS |  |  |  | 0
Notes: Refer Summary Tab also for more information

## Civil_Park_& Toilet SPB
SCHEDULE OF TENDERED LUMP SUM
Stage 1 - Completion - Separable Portion B (SPB)
Civil Works - Parklands Works & Toilet Block- IF ORDERED
Priors Creek Development
Contract No. T-TRC2023-12
| SUMMARY |  |  | Amount ($)
1.00 | Preliminaries |  |  | 0
2.00 | Earthworks |  |  | 0
3.00 | Roadworks |  |  | 0
4.00 | Stormwater Drainage |  |  | 0
5.00 | Soil & Water Management |  |  | 0
| Total |  |  | 0 |  | tenderers to check all calculations
| PRELIMINARIES | Unit | Rate | Qty | Amount ($)
1.01 | Setting out of works | Item |  | 1 | 0
1.02 | “As Constructed” documentation | Item |  | 1 | 0
1.03 | Construction industry levy and fees | Item |  | 1 | 0
1.04 | Traffic Management | Item |  | 1 | 0
1.05 | Locating and potholing of existing services | Item |  | 1 | 0
1.06 | Temporary Fencing | Item |  | 1 | 0
1.07 | Demolition - TOILET BLOCK | Item |  | 1 | 0
| Total Preliminaries |  |  |  | 0
2.00 | EARTHWORKS | Unit | Rate | Qty | Amount ($)
2.01 | Clearing and grubbing including disposal of cleared material to dump (PS) | m2 |  | 10753 | 0
2.02 | Stripping of topsoil (150mm depth) to stockpile replace on grassed areas within SPB | m3 |  | 1613 | 0
2.03 | Spread topsoil stockpile from SPA on grassed areas within SPB |  |  | 1165
2.04 | Earthworks (Solid Cut Volume)
| a) Cut to Fill (Within this stage) | m3 |  | 1416 | 0
| b) Stockpile to Fill | m3 |  | 1101 | 0
| c) Stockpile to spread as landscaping Mounds or Pump Track (surplus material) | m3 |  | 448 | 0 | note: this excludes any losses from rock or unsuitable and contaminated material and is based on a bulking factor of 15%
| d) Removal of unsuitable material (Soft Material) (PQ) | m3 |  | 100 | 0
| e) Removal of and treatment of contaminated material (PQ) | m3 |  | 100 | 0
| f) Excavation and removal of rock (PQ) | m3 |  | 100 | 0
2.05 | Final trim and grade | m2 |  | 10753 | 0
2.06 | Soil testing (Geotechnical inspections and testing to Level 1) | m3 |  | 2517 | 0
| Total Earthworks |  |  |  | 0
3.00 | ROADWORKS | Unit | Rate | Qty | Amount ($)
3.01 | Grade and trim pavement box | m2 |  | 198 | 0
3.02 | Supply, load, cart, spread and compact 125mm sub base course material CBR 60 (solid fill measure) | m3 |  | 25 | 0
3.03 | Supply, load, cart, spread and compact 125mm base course material CBR 80 (solid fill measure) | m3 |  | 25 | 0
3.04 | Grade, trim and prepare surface for sealing | m2 |  | 120 | 0
3.05 | Seal pavement (including prime coat, tacking coats trimming and preparing surface)
| a) 30mm Asphalt surfacing to roadways | m2 |  | 120 | 0
3.06 | Construction of kerb and channel
| a) Maintenance Strip Kerb | m |  | 79 | 0
3.07 | Cut back and removal of existing pavements | m2 |  | 25 | 0
3.08 | Subsurface Drainage | m |  | 61 | 0
3.09 | Subsurface Flushing Points | No |  | 2 | 0
3.10 | Provide line marking, RRPMs, painted kerbing and islands in accordance with project drawings, including removal of superfluous line marking | Item |  | 1 | 0
3.11 | Supply and Installation of Signage
| a) Parking | No |  | 4 | 0
| b) Hazard (Chevron, splitter) | No |  | 1 | 0
3.12 | Soil testing in accordance with specification and Australian Stds
| a) Subgrade CBR (allow 1 per 100m of road) | No |  | 1 | 0
| b) Subgrade compaction (allow 1 per 100m of road) | No |  | 1 | 0
| c) Pavement compaction (allow 1 per 100m of road per layer) | No |  | 1 | 0
| d) Pavement quality (allow 1 per 400m3 of road per layer) | No |  | 1 | 0
| e) AC core testing | No |  | 1 | 0
| Total Roadworks |  |  |  | 0
4.00 | STORMWATER DRAINAGE | Unit | Rate | Qty | Amount ($)
4.01 | Pipelines - excavate for supply, lay, backfill and dispose of surplus material
| a) 150 dia uPVC | m |  | 30 | 0
| b) 225 dia uPVC | m |  | 96 | 0
4.02 | Construction of field inlet pits complete
| a) 600 x 600 Everhard Field Inlet Pit (nominal in landscaping area ) | No |  | 7 | 0
4.03 | Construction of headwalls complete
| a) 150 dia | No |  | 1 | 0
4.04 | Grouted Stone Pitching or dumped rock scour treatment (PQ) | m2 |  | 10 | 0
4.05 | CCTV of new drainage lines | No |  | 1 | 0
| Total Stormwater |  |  |  | 0
5.00 | SOIL AND WATER MANAGEMENT | Unit | Rate | Qty | Amount ($)
5.01 | Erosion Control (PQ) |  |  |  | 0
| a) Maintenance of erosion control measures | No |  | 1 | 0
| Total Soil & Water Management |  |  |  | 0
Notes: Refer Summary Tab also for more information

## Civil_Carpark _SPB
SCHEDULE OF TENDERED LUMP SUM
Stage 1 - Completion - Separable Portion B (SPB)
Civil - Carpark Works - IF ORDERED
Priors Creek Development
Contract No. T-TRC2023-12
| SUMMARY |  |  | Amount ($)
1.00 | Preliminaries |  |  | 0
2.00 | Earthworks |  |  | 0
3.00 | Roadworks |  |  | 0
4.00 | Stormwater Drainage |  |  | 0
5.00 | Soil & Water Management |  |  | 0
| Total |  |  | 0 |  | tenderers to check all calculations
| PRELIMINARIES | Unit | Rate | Qty | Amount ($)
1.01 | Setting out of works | Item |  | 0 | 0
1.02 | “As Constructed” documentation | Item |  | 0 | 0
1.03 | Construction industry levy and fees | Item |  | 0 | 0
1.04 | Traffic Management | Item |  | 0 | 0
1.05 | Locating and potholing of existing services | Item |  | 0 | 0
1.06 | Temporary Fencing | Item |  | 0 | 0
1.07 | Demolition - Stormwater pipes, removal of 47m | Item |  | 0 | 0
| Total Preliminaries |  |  |  | 0
2.00 | EARTHWORKS | Unit | Rate | Qty | Amount ($)
2.01 | Earthworks (Solid Cut Volume)
| a) Cut to Fill (Within this stage) | m3 |  | 175 | 0
| b) Imported Fill | m3 |  | 0 | 0
| c) Removal of unsuitable material (Soft Material) (PQ) | m3 |  | 20 | 0
| d) Removal of and treatment of contaminated material (PQ) | m3 |  | 20 | 0
| e) Excavation and removal of rock (PQ) | m3 |  | 20 | 0
2.02 | Final trim and grade
| a) Verges & Footpaths | m2 |  | 120 | 0
2.03 | Soil testing (Geotechnical inspections and testing to Level 1) | m3 |  | 175 | 0
| Total Earthworks |  |  |  | 0
3.00 | ROADWORKS | Unit | Rate | Qty | Amount ($)
3.01 | Grade and trim pavement box | m2 |  | 875 | 0
3.02 | Supply, load, cart, spread and compact 100mm sub base course material CBR 60 (solid fill measure) | m3 |  | 88 | 0
3.03 | Supply, load, cart, spread and compact 100mm base course material CBR 80 (solid fill measure) | m3 |  | 72 | 0
3.04 | Grade, trim and prepare surface for sealing | m2 |  | 721 | 0
3.05 | Seal pavement (including prime coat, tacking coats trimming and preparing surface)
| a) 30mm Asphalt surfacing to roadways | m2 |  | 721 | 0
3.06 | Construction of kerb and channel
| a) Barrier Kerb and Channel | m |  | 70 | 0
| b) Barrier Kerb | m |  | 111 | 0
| c) Maintenance Strip Kerb | m |  | 23 | 0
| d) Concrete Invert | m |  | 40 | 0
3.07 | Construct kerb ramps | No |  | 2 | 0
3.08 | Cut back and removal of existing pavements | m2 |  | 1098 | 0
3.09 | Tactile Ground Surface Indicators | Item |  | 1 | 0
3.10 | Paths - Refer to Landscaping Qtys
3.11 | Supply and Install Bollards - refer to landscaping schedule
3.12 | Construct concrete island infill - refer to landscaping schedule
3.13 | Subsurface Drainage | m |  | 157 | 0
3.14 | Subsurface Flushing Points | No |  | 6 | 0
3.15 | Provide linemarking, RRPMs, painted kerbing and islands in accordance with project drawings, including removal of superfluous linemarking | Item |  | 1 | 0
3.16 | Supply and Installation of Signage
| a) Regulatory (speed, giveway roundabout) | No |  | 6 | 0
3.17 | Soil testing in accordance with specification and Australian Stds
| a) Subgrade CBR (allow 1 per 100m of road) | No |  | 1 | 0
| b) Subgrade compaction (allow 1 per 100m of road) | No |  | 1 | 0
| c) Pavement compaction (allow 1 per 100m of road per layer) | No |  | 2 | 0
| d) Pavement quality (allow 1 per 400m3 of road per layer) | No |  | 2 | 0
| e) AC core testing | No |  | 1 | 0
| Total Roadworks |  |  |  | 0
4.00 | STORMWATER DRAINAGE | Unit | Rate | Qty | Amount ($)
4.01 | Pipelines - excavate for supply, lay, backfill and dispose of surplus material
| a) 375 dia BlackMax | m |  | 68 | 0
| b) 450 dia BlackMax | m |  | 28 | 0
| c) 600 dia BlackMax | m |  | 41 | 0
4.02 | Construction of kerb inlet pits complete
| a) 900x900 grated kerb inlet pit to parking | No |  | 6 | 0
4.03 | Construction of field inlet pits complete
| a) 900 x 900 FNQROC Field Inlet Pit | No |  | 1 | 0
4.04 | Concrete Invert in New Drain | m |  | 40 | 0
4.05 | Construction of headwalls complete
4.06 | CCTV of new drainage lines | No |  | 1 | 0
| Total Stormwater |  |  |  | 0
5.00 | SOIL AND WATER MANAGEMENT | Unit | Rate | Qty | Amount ($)
5.01 | Erosion Control (PQ) |  |  |  | 0
| a) Construction of stabilised entry | No |  | 1 | 0
| b) Stormwater inlet protection | No |  | 15 | 0
| c) Turf strips | m2 |  | 20 | 0
| d) Maintenance of erosion control measures | Item |  | 1 | 0
| Total Soil & Water Management |  |  |  | 0
Notes: Refer Summary Tab also for more information

## Landscape_SPB
PRIORS CREEK DEVELOPMENT
SCHEDULE OF TENDERED LUMP SUMS
Stage 1 - Completion - Separable Portion B (SPB)
LANDSCAPE WORKS - IF ORDERED
Tender : | Priors Creek Development Contract T-TRC2023-12
Date: | 2023-09-08
Revision: | C
Item No. | Description | Unit | Qty | Rate | Amount
1. Preliminaries
1.01 | PRELIMINARIES
1.02 | General requirements as specified, including conformities, WHS req's, service checks, barricades, inspections, sediment and erosion control, installation certifications, and as-constructed plans and documents as required by the contract. | lump sum | 1 |  | 0
1.03 | TOTAL |  |  |  | 0
2. Preliminary Landscape Works (L1.09 & L1.11)
2.01 | HARD LANDSCAPE ELEMENTS
2.02 | Relocate existing Mountain Bike Structure (all inclusive incl structural design & installation certification, seats, concrete slab/footings, etc) | item | 1 |  | 0
2.03 | Remove, relocate, and reinstall existing fitness equipment | item | 1 |  | 0
2.03 | Relocate existing shade sails - fitness area | item | 1 |  | 0
2.04 | P7 - Supply & install Coloured 'Synpave' finish over 100mm thk concrete to new fitness area above | sq.m | 208 |  | 0
2.05 | TOTAL |  |  |  | 0
3. Vernon Street (L1.12)
3.01 | EXCAVATION WORKS
3.02 | Demolition and excavation to existing footpath | sq.m | 660 |  | 0
3.03 | SUBTOTAL |  |  |  | 0
3.04 | PEDESTRIAN FOOTPATH TREATMENTS
3.05 | P2 - Exposed Aggregate Concrete - Burdekin | sq.m | 327 |  | 0
3.06 | P3 - Exposed Aggregate Concrete - Salt & Pepper | sq.m | 271 |  | 0
3.07 | P5 - Brick Paver Banding | L.m | 459 |  | 0
3.08 | New upright kerb to garden adj ANZ | L.m | 10.5 |  | 0
3.09 | HR3 - New handrail to garden adj ANZ | L.m | 10.5 |  | 0
3.1 | New rubbish bins & enclosure (double) | ea | 2 |  | 0
3.11 | SUBTOTAL |  |  |  | 0
3.12 | SOFTSCAPE WORKS
3.13 | Planting bed treatments | sq.m | 242 |  | 0
3.14 | Plant stock to medians - (140mm) | sq.m | 181 |  | 0
3.15 | New Street Trees - 100Ltr | each | 5 |  | 0
3.16 | Root barrier to street trees | each | 30 |  | 0
3.17 | SUBTOTAL |  |  |  | 0
3.18 | TOTAL |  |  |  | 0
4. New Link Road (incl Vernon St Roundabout & Jack St Sth & Railway Lane Nth) (L1.01 & l 1.02)
4.01 | EXCAVATION WORKS
4.02 | Excavation to existing footpath | sq.m | 1472 |  | 0
4.03 | SUBTOTAL |  |  |  | 0
4.04 | HARD LANDSCAPE ELEMENTS
4.05 | P2 - Exposed Aggregate Concrete - Burdekin | sq.m | 578 |  | 0
4.06 | P3 - Exposed Aggregate Concrete - Salt & Pepper | sq.m | 435 |  | 0
4.07 | P5 - Brick Paver Banding | ea | 707 |  | 0
4.08 | Bike racks | ea | 4 |  | 0
4.09 | New rubbish bins & enclosure (double) | ea | 2 |  | 0
4.1 | New SS Bollards | ea | 25 |  | 0
4.11 | SUBTOTAL |  |  |  | 0
4.12 | SOFTSCAPE WORKS
4.13 | Planting Beds - all inclusive (exc. planting) | sq.m | 459 |  | 0
4.14 | Plant stock - (140mm) | sq.m | 918 |  | 0
4.15 | New Street Trees - 100Ltr | each | 14 |  | 0
4.16 | Root barrier to street trees | each | 85 |  | 0
4.17 | SUBTOTAL |  |  |  | 0
4.18 | TOTAL |  |  |  | 0
5. New Carpark Works (L1.03)
5.01 | EXCAVATION WORKS
5.02 | Excavation works as req'd to accommodate landscape works | sq.m | 280 |  | 0
5.03 | SUBTOTAL |  |  |  | 0
5.04 | HARD LANDSCAPE ELEMENTS
5.05 | P3 - Exposed Aggregate Concrete - Salt & Pepper | sq.m | 71 |  | 0
5.06 | P10 - Reclaimed brick pavers laid in herringbone pattern to islands. | sq.m | 8 |  | 0
5.07 | SUBTOTAL |  |  |  | 0
5.08 | SOFTSCAPE WORKS
5.09 | Planting Beds - all inclusive (exc. planting) | sq.m | 209 |  | 0
5.1 | Plant stock - (140mm) | sq.m | 368 |  | 0
5.11 | New Trees to carpark | each | 7 |  | 0
5.12 | SUBTOTAL |  |  |  | 0
5.13 | TOTAL |  |  |  | 0
6. Promenade Pathway Zone (L1.04)
6.01 | EXCAVATION WORKS
6.02 | Minor earthworks & site grading | sq.m | 2888 |  | 0
6.03 | SUBTOTAL |  |  |  | 0
6.04 | HARD LANDSCAPE ELEMENTS
6.05 | P1 - Supply & install broom finish, coloured concrete, colour CCS Caramel. | sq.m | 197 |  | 0
6.06 | P1V - Supply & install vehicle grade, broom finish, coloured concrete, colour CCS Caramel | sq.m | 857 |  | 0
6.07 | FT15 - 50m Path Markers supply & install | item | 6 |  | 0
6.08 | Allowance to ensure ends of paths finish flush with adjacent gravel pathways. | item | 2 |  | 0
6.09 | P2 - Exposed Aggregate Concrete - Burdekin | sq.m | 14 |  | 0
6.1 | P2V - Supply & install vehicle grade, exposed aggregate coloured concrete - Burdekin | sq.m | 72 |  | 0
6.11 | P3 - Exposed Aggregate Concrete - Salt & Pepper | sq.m | 104 |  | 0
6.12 | P5 - Brick Paver Banding | L.m | 80 |  | 0
6.13 | Concrete sphere bollards (400dia) (excludes urban plaza) | ea | 17 |  | 0
6.14 | Retractable bollards for maintenance access (Jack St end) | ea | 5 |  | 0
6.15 | Tactile ground surface indicators | PC | 1 |  | 0
6.16 | New rubbish bins & enclosure (double) | ea | 2 |  | 0
6.17 | SUBTOTAL |  |  |  | 0
6.2 | EDGING
6.21 | Concrete Edging | L.m | 61 |  | 0
6.22 | SUBTOTAL |  |  |  | 0
6.23 | SOFTSCAPE WORKS
6.24 | Turfed Areas - all inclusive | sq.m | 1294 |  | 0
6.25 | Planting Beds - all inclusive (exc. planting) | sq.m | 350 |  | 0
6.26 | Plant stock - (140mm) | sq.m | 871 |  | 0
6.27 | New Shade Trees - 45Ltr | each | 6 |  | 0
6.28 | New Shade Trees - 100Ltr | each | 12 |  | 0
6.29 | SUBTOTAL |  |  |  | 0
6.3 | TOTAL |  |  |  | 0
7. Urban Plaza Zone (L1.05)
7.01 | EXCAVATION WORKS
7.02 | Minor earthworks & site grading | sq.m | 14750 |  | 0
7.03 | SUBTOTAL |  |  |  | 0
7.04 | HARD LANDSCAPE ELEMENTS
7.05 | P1V - Supply & install vehicle grade, broom finish, coloured concrete, colour CCS Caramel | sq.m | 187 |  | 0
7.06 | P2 - Exposed Aggregate Concrete - Burdekin | sq.m | 508 |  | 0
7.07 | P2V - Supply & install vehicle grade, exposed aggregate coloured concrete - Burdekin | sq.m | 28 |  | 0
7.08 | P3 - Exposed Aggregate Concrete - Salt & Pepper | sq.m | 471 |  | 0
7.09 | P5 - Brick Paver Banding | L.m | 465 |  | 0
7.1 | Concrete sphere bollards (400dia) (excludes urban plaza) | ea | 33 |  | 0
7.11 | Retractable bollards for maintenance access (end of Vernon St) | ea | 5 |  | 0
7.12 | Entry wall with signage (all inclusive) | L.m | 3.2 |  | 0
7.12a | Digital Signage Pillar (FT16) | Qty | 1 |  | 0
7.13 | SUBTOTAL |  |  |  | 0
7.14 | SOFTSCAPE WORKS
7.15 | New Shade Trees - 45Ltr | each | 7 |  | 0
7.15 | SUBTOTAL |  |  |  | 0
7.16 | TOTAL |  |  |  | 0
8. Amphitheatre Area (L1.07)
8.01 | EXCAVATION WORKS
8.02 | Minor earthworks & site grading | sq.m | 2055 |  | 0
8.03 | SUBTOTAL |  |  |  | 0
8.04 | HARD LANDSCAPE ELEMENTS
8.05 | P1 - Supply & install broom finish, coloured concrete, colour CCS Caramel. | sq.m | 289 |  | 0
8.06 | P1V - Supply & install vehicle grade, broom finish, coloured concrete, colour CCS Caramel | sq.m | 217 |  | 0
8.07 | P2 - Exposed Aggregate Concrete - Burdekin | sq.m | 122 |  | 0
8.08 | P2V - Supply & install vehicle grade, exposed aggregate coloured concrete - Burdekin | sq.m | 26 |  | 0
8.09 | Concrete Terrace Seating - 450H x 1500D | L.m | 165 |  | 0
8.1 | Concrete steps to terrace seating | sq.m | 15 |  | 0
8.11 | Rendered Block Wall to back of stage | L.m | 14 |  | 0
8.12 | Handrail to ramp & steps (at stage) | L.m | 24 |  | 0
8.13 | Ramp to back of stage | sq.m | 25 |  | 0
8.14 | Rendered blockwork to perimeter of stage | L.m | 40 |  | 0
8.15 | Concrete steps to terrace seating | sq.m | 5 |  | 0
8.16 | Raised Concrete Stage Area | sq.m | 100 |  | 0
8.17 | Handrail to steps at terraced seating (with lights) | L.m | 13 |  | 0
8.18 | Handrail to ends of terrace seating | L.m | 14 |  | 0
8.19 | Rockwork to edge of terrace seating | L.m | 5 |  | 0
8.2 | Supply & install Subsoil drainage | L.m | 152 |  | 0
8.21 | Garden edging | L.m | 36 |  | 0
8.22 | SUBTOTAL |  |  |  | 0
8.23 | SOFTSCAPE WORKS
8.24 | Turfed Areas - all inclusive | sq.m | 1041 |  | 0
8.25 | Planting Beds - all inclusive (exc. planting) | sq.m | 235 |  | 0
8.26 | Plant stock - (140mm) | each | 353 |  | 0
8.27 | New Shade Trees - 45Ltr | each | 7 |  | 0
8.28 | SUBTOTAL |  |  |  | 0
8.29 | TOTAL |  |  |  | 0
9. Main Park Area (L1.08)
9.01 | EXCAVATION WORKS
9.02 | Minor earthworks & site grading | sq.m | 5870 |  | 0
9.03 | SUBTOTAL |  |  |  | 0
9.04 | HARD LANDSCAPE ELEMENTS
9.05 | P1 - Supply & install broom finish, coloured concrete, colour CCS Caramel. | sq.m | 522 |  | 0
9.06 | P2 - Exposed Aggregate Concrete - Burdekin | sq.m | 258 |  | 0
9.07 | P3 - Exposed Aggregate Concrete - Salt & Pepper | sq.m | 24 |  | 0
9.08 | P5 - Brick Paver Banding | L.m | 200 |  | 0
9.09 | P7 - Supply & install Coloured 'Synpave' finish over 100mm thk concrete | sq.m | 168 |  | 0
9.1 | Supply & install Drain Pit 257 | ea | 2 |  | 0
9.11 | Supply & install Subsoil drainage | L.m | 4 |  | 0
9.12 | SUBTOTAL |  |  |  | 0
9.13 | FENCES
9.14 | Decorative Playground Fence - 1200H | L.m | 60 |  | 0
9.15 | Aluminium Tube Fence - 1200H - Timber HWD posts | L.m | 178 |  | 0
9.16 | Vehicle access gate | item | 2 |  | 0
9.17 | SUBTOTAL |  |  |  | 0
9.18 | FURNITURE ELEMENTS & FEATURES
9.19 | Shelter - Single - 3x3m | each | 3 |  | 0
9.2 | Shelter - Double - 6x4m | each | 4 |  | 0
9.21 | BBQ shelter | each | 2 |  | 0
9.22 | Picnic Settings | each | 11 |  | 0
9.23 | BBQ structure | each | 2 |  | 0
9.24 | Bike Racks | each | 6 |  | 0
9.25 | Rubbish Bin Enclosure - Double | each | 2 |  | 0
9.26 | Drinking Fountain | each | 4 |  | 0
9.27 | Taps | each | 4 |  | 0
9.28 | Bench Seats - 2m | each | 4 |  | 0
9.29 | Paver garden edging | L.m | 178 |  | 0
9.3 | Kompan Multigoal structure | item | 1 |  | 0
9.31 | Landmark Toilet structure K9515 (all inclusive) | item | 1 |  | 0
9.32 | SUBTOTAL |  |  |  | 0
9.33 | SOFTSCAPE WORKS
9.34 | Turf Reinforcing (only) - 2.5m wide | L.m | 100 |  | 0
9.35 | Planting Beds - all inclusive (exc. planting) | sq.m | 895 |  | 0
9.36 | Plant stock - (140mm) | each | 1263 |  | 0
9.37 | Turfed Areas - all inclusive | sq.m | 2640 |  | 0
9.38 | SUBTOTAL |  |  |  | 0
9.39 | PLANTING
9.4 | Tree Stock - 45L | each | 27 |  | 0
9.71 | Tree Stock - 100L | each | 20 |  | 0
9.42 | Root Barrier | L.m. | 12 |  | 0
9.43 | SUBTOTAL |  |  |  | 0
9.44 | TOTAL |  |  |  | 0
10. Landscape Works to Lot 1 (L1.06)
10.01 | EXCAVATION WORKS
10.02 | Minor earthworks, excavation and ground shaping. | sq.m | 388 |  | 0
10.03 | SUBTOTAL |  |  |  | 0
10.04 | HARD LANDSCAPE ELEMENTS
10.05 | P3 - Exposed Aggregate Concrete - Salt & Pepper | sq.m | 131 |  | 0
10.06 | Concrete steps to lot 1 | sq.m | 5 |  | 0
10.07 | P5 - Brick Paver Banding | L.m | 24 |  | 0
10.08 | Garden edging | L.m | 46 |  | 0
10.09 | P6 - Synthetic grass over 100mm concrete | sq.m | 45 |  | 0
10.1 | Tactile ground surface indicators | PC | 1 |  | 0
10.11 | HR5 Handrail to steps & synthetic grass | L.m | 24 |  | 0
10.12 | Bike racks | each | 3 |  | 0
10.13 | Rubbish Bin Enclosure - Double | each | 2 |  | 0
10.14 | Landmark Toilet structure - K9518 with modesty screen (all inclusive) | item | 1 |  | 0
10.15 | SUBTOTAL |  |  |  | 0
10.16 | SOFTSCAPE WORKS
10.17 | Turfed Areas - all inclusive | sq.m | 96 |  | 0
10.18 | Planting Beds - all inclusive (exc. planting) | sq.m | 161 |  | 0
10.19 | Plant stock - (140mm) | each | 167 |  | 0
10.2 | SUBTOTAL |  |  |  | 0
10.21 | PLANTING
10.22 | Tree Stock - 45L | each | 0 |  | 0
10.23 | SUBTOTAL |  |  |  | 0
10.24 | TOTAL |  |  |  | 0
11. Stormwater Outlet Area (L1.10)
11.01 | EXCAVATION WORKS
11.02 | Weed removal, and control | sq.m | 469 |  | 0
11.03 | SUBTOTAL |  |  |  | 0
11.04 | SOFTSCAPE WORKS
11.05 | Mulch only treatment | sq.m | 469 |  | 0
11.06 | Plant stock - (140mm) | sq.m | 93 |  | 0
11.07 | New Shade Trees (45Ltr) | each | 9 |  | 0
11.08 | New palm spps (100Ltr) | each | 9 |  | 0
11.09 | SUBTOTAL |  |  |  | 0
11.1 | TOTAL |  |  |  | 0
12. Irrigation
12.01 | Water connection to town water 100mm | no. | 1 |  | 0
12.02 | Water meter standard type 100mm | no. | 1 |  | 0
12.03 | Reduced pressure zone backflow assembly, 25mm, with prv | no. | 1 |  | 0
12.04 | Reduced pressure zone backflow assembly 100mm, with master valve & prv | no. | 1 |  | 0
12.05 | Controller, Hunter Pro 24 station complete with lockable weatherproof cabinet. | no. | 1 |  | 0
12.06 | Mainline 90mmm pn 18 metric poly | m | 321 |  | 0
12.07 | Mainline 90mmm fittings | item | 1 |  | 0
12.08 | Mainline 32mm pn 18 metric poly | m | 293 |  | 0
12.09 | Mainline 32mm fittings | item | 1 |  | 0
12.1 | Irrigation lines 63mm pn 12 metric poly | m | 1 |  | 0
12.11 | Irrigation lines 50mm pn 12 metric poly | m | 1 |  | 0
12.12 | Irrigation lines 40mm pn 12 metric poly | m | 1 |  | 0
12.13 | Spray line fittings | item | 1 |  | 0
12.14 | Control cable 5-core 1.5mm² | m | 45 |  | 0
12.15 | Control cable 9-core 1.5mm² | m | 235 |  | 0
12.16 | Control cable 13-core 1.5mm² | m | 165 |  | 0
12.17 | Control cable conduit 40mm | m | 384 |  | 0
12.18 | Control cable pits | no. | 15 |  | 0
12.19 | Irrigation lines 25mm low density lateral tube | m | 1 |  | 0
12.2 | Conduit 100mm PVC | m | 1 |  | 0
12.21 | Conduit 150mm PVC | m | 1 |  | 0
12.22 | Solenoid valves assembly 40mm for spray system | no. | 13 |  | 0
12.23 | Solenoid valves assembly for drip system 40mm valve with 40mm tec-filter | no. | 3 |  | 0
12.24 | Sprinklers Hunter 100mm bodies with mpr nozzles & swing hose riser, includes 61x300mm hi-pop bodies | no. | 233 |  | 0
12.25 | Sprinklers gear drive hunter pgp with swing hose riser | no. | 107 |  | 0
12.26 | Rain Sensor mini-click. | no. | 1 |  | 0
12.27 | Moisture sensor wired to controller | no. | 1 |  | 0
12.28 | as-constructed drawings | no. | 4 |  | 0
12.29 | TOTAL |  |  |  | 0
13. Establishment & Maintenance
13.01 | Landscape maintenance throughout establishment period | per week | 12 |  | 0
13.02 | Defects Liability Period Allowance | item | 1 |  | 0
13.03 | TOTAL |  |  |  | 0
14. Other Landscape Items
Tenderer to schedule here any items that are necessary to complete the work to the intent of the documents and against which he is required to enter a rate.
14.01 |  |  |  |  | 0
14.02 |  |  |  |  | 0
14.03 |  |  |  |  | 0
14.04 | TOTAL |  |  |  | 0
15. Totals
15.01 | TOTAL CONSTRUCTION COST (excl. GST) |  |  |  | 0 | tenderers to check all calculations
15.02 |  | plus 10% GST |  |  | 0
15.03 | TOTAL LANDSCAPE CONSTRUCTION COST (incl. GST) |  |  |  | 0
Note: Footings for all structures / furniture elements & features ( shelters, toilets, etc) to be included in the above lump sums Refer Summary Tab for more information Refer to landscape drawing L-002 for pricing location reference (e.g. L1.06)
Lump Sum amounts to be all inclusive include supply, installation, testing, etc

## Elec_Lot 1 and Park_SPB
SCHEDULE OF TENDERED LUMP SUM
Stage 1 - Completion - Separable Portion B
ELECTRICAL SERVICES IN PARKLAND AND LOT 1 (Excludes lot 3 car park)- IF ORDERED
Priors Creek Development
Contract No. T-TRC2023-12
NOTE: the lump sum amounts are to include, supply, installation, testing and commissioning
ITEM No | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT ($)
SUMMARY
1 | PRELIMINARIES |  |  |  | 0
2 | CABLE ACCESS SYSTEM |  |  |  | 0
3 | ELECTRICAL RETICULATION AND SERVICES PEDESTALS |  |  |  | 0
4 | LIGHTING |  |  |  | 0
5 | POWER |  |  |  | 0
6 | FINAL SUB-CIRCUITS |  |  |  | 0
| TOTAL |  |  |  | 0 | tenderers to check all calculations
PRELIMINARIES
1.01 | Setting out of works | 1 | Item | 0 | 0
1.02 | Marked up As Constructed drawings and bore logs, etc | 1 | Item | 0 | 0
1.3 | Traffic Management | 1 | Item | 0 | 0
1.4 | Locating and potholing of existing services | 1 | Item | 0 | 0
1.5 | Temporary Fencing where required | 1 | Item | 0 | 0
| TOTAL PRELIMINARIES |  |  |  | 0
CABLE ACCESS SYSTEM
2.01 | Trench LV & Comms only in verge. Excavate trench 1000 mm deep, 600 wide, sand, install conduit, sand fill, then backfill with tape and hard cover where required. | 1775 | lin m | 0 | 0
2.02 | 100mm HD uPVC underground conduit including conduit bends where required | 1025 | lin m | 0 | 0
2.03 | 80mm HD uPVC underground conduit including conduit bends where required | 82 | lin m | 0 | 0
2.04 | 63mm HD uPVC underground conduit including conduit bends where required | 152 | lin m | 0 | 0
2.05 | 50mm HD uPVC underground conduit including conduit bends where required | 1186 | lin m | 0 | 0
2.06 | 40mm HD uPVC underground conduit including conduit bends where required | 30 | lin m | 0 | 0
2.07 | 32mm HD uPVC underground conduit including conduit bends where required | 33 | lin m | 0 | 0
2.08 | 25mm HD uPVC underground conduit including conduit bends where required | 50 | lin m | 0 | 0
2.07 | 100mm PVC underground communications conduit including conduit bends where required | 451 | lin m | 0 | 0
2.09 | 50mm PVC underground communications conduit including conduit bends where required | 130 | lin m | 0 | 0
2.1 | 20mm PVC underground communications conduit including conduit bends where required | 20 | lin m | 0 | 0
2.11 | Cast In situ cable pit for MSB-P including RPEQ design and certification | 1 | Item | 0 | 0
2.12 | Preformed type 8 electrical cable pit including lockable lid and concrete collar | 9 | Item | 0 | 0
2.13 | Preformed type 5 electrical cable pit including lockable lid and concrete collar | 12 | Item | 0 | 0
2.14 | Preformed type 8 communications cable pit including lockable lid and concrete collar | 6 | Item | 0 | 0
2.15 | Preformed type 5 communications cable pit including lockable lid and concrete collar | 8 | Item | 0 | 0
2.16 | Provision of mechanical protection to conduit where they exit ground level, up to 2.4m above ground level as detailed in the specification | 14 | Item | 0 | 0
2.17 | 25mm light duty PVC conduits on shade shelters for connection of type "C" luminaires. | 7 | Item | 0 | 0
2.18 |  |  | Item | 0 | 0
2.19 |  |  | Item | 0 | 0
2.2 |  |  | Item | 0 | 0
| TOTAL - CABLE ACCESS SYSTEM |  |  |  | 0
ELECTRICAL RETICULATION AND SERVICES PEDESTALS
3.01 | Consumers mains for Lot 1 (MSB-L1) | 28 | lin m | 0 | 0
3.02 | Consumers mains for Park (MSB -P) | 20 | lin m | 0 | 0
3.03 | Submains from MSB-P to DB-1 | 160 | lin m | 0 | 0
3.04 | Submains from MSB-P to DB-2 | 62 | lin m | 0 | 0
3.05 | Submains from MSB-P to DB-3 | 72 | lin m | 0 | 0
3.06 | Submains from MSB-P to DB-4 | 155 | lin m | 0 | 0
3.07 | Submains from MSB-P to service pedestal SP-1 | 83 | lin m | 0 | 0
3.08 | Submains from MSB-P to service pedestal SP-2 | 43 | lin m | 0 | 0
3.09 | Submains from MSB-P to service pedestal SP-3 | 32 | lin m | 0 | 0
3.1 | Submains from MSB-P to service pedestal SP-4 | 57 | lin m | 0 | 0
3.11 | Submains from DB-4 to service pedestal SP-5 | 23 | lin m | 0 | 0
3.12 | Submains from DB-4 to service pedestal SP-6 | 39 | lin m | 0 | 0
3.13 | Submains from DB-4 to service pedestal SP-7 | 78 | lin m | 0 | 0
3.14 | Submains from MSB-L1 to DB-1 | 10 | lin m | 0 | 0
3.15 | Submains from MSB-L1 to DB-2 | 29 | lin m | 0 | 0
3.16 | Main Switchboard for Lot 1 (MSB-L1) | 1 | Item | 0 | 0
3.17 | Main Switchboard the Park (MSB-P) | 1 | Item | 0 | 0
3.18 | Distribution Switchboard DB-1 | 1 | Item | 0 | 0
3.19 | Distribution Switchboard DB-2 | 1 | Item | 0 | 0
3.2 | Distribution Switchboard DB-3 | 1 | Item | 0 | 0
3.21 | Distribution Switchboard DB-4 | 1 | Item | 0 | 0
3.22 | SERVICES PILLAR TYPE " A " | 5 | Item | 0 | 0
3.23 | SERVICES PILLAR TYPE " B " | 2 | Item | 0 | 0
| TOTAL - ELECTRICAL RETICULATION AND SERVICES PEDESTALS |  |  |  | 0
LIGHTING
4.01 | Type "A" luminaire | 42 | Item | 0 | 0
4.02 | type "B" luminaire | 3 | Item | 0 | 0
4.03 | type "C" luminaire | 7 | Item | 0 | 0
4.04 | type "D" luminaire | 6 | Item | 0 | 0
4.05 | type "E" luminaire | 10 | Item | 0 | 0
4.06 | type "F" luminaire | 3 | Item | 0 | 0
4.07 | type "G" luminaire | 6 | Item | 0 | 0
4.08 | type "H" luminaire | 5 | Item | 0 | 0
4.09 | type "I" luminaire | 2 | Item | 0 | 0
4.1 | type "J" luminaire | 8 | Item | 0 | 0
4.11 | Type "A" light pole including footing | 44 | Item | 0 | 0
4.12 | Type "B" light pole including footing | 1 | Item | 0 | 0
4.13 | Type "C" light pole including footing | 6 | Item | 0 | 0
4.14 | Type "D" light pole including footing | 3 | Item | 0 | 0
4.15 | 0-10 Volt dimming for Amphitheatre lighting | 2 | Item | 0 | 0
4.16 | Lumsacape LS6950 (Nicolaudie) DMX Control unit, including programming, mounted in DB-4 with data cable to Lumascape data injection unit | 1 | Item | 0 | 0
4.17 | Lumsacape LS6540 data injection unit including cubicle and wiring to DB-4 and to luminaires | 1 | Item | 0 | 0
| TOTAL - LIGHTING |  |  |  | 0
POWER
4.01 | Single phase, 10 Amp IP56 lockable switched socket outlet | 3 | Item | 0 | 0
4.02 | Single phase, 15 Amp IP56 lockable switched socket outlet | 2 | Item | 0 | 0
4.03 | Three phase, 5 pin, 32 Amp IP56 lockable switched socket outlet | 1 | Item | 0 | 0
4.04 | Single phase IP56 isolating switch with connection to Barbeque | 2 | Item | 0 | 0
4.05 | Single phase IP56 isolating switch with connection to Sign | 2 | Item | 0 | 0
| TOTAL - POWER |  |  |  | 0
FINAL SUB-CIRCUIT CABLING & DATA CABLING
5.01 | 2C + E 2.5mm² Cu PVC/PVC Orange circular final sub-circuit cabling within pole | 585 | lin m | 0 | 0
5.02 | 2C + E 2.5mm² Cu PVC/PVC Orange circular final sub-circuit cabling | 520 | lin m | 0 | 0
5.03 | 2C + E 4mm² Cu PVC/PVC Orange circular final sub-circuit cabling | 1995 | lin m | 0 | 0
5.04 | 4C + E 6mm² Cu PVC/PVC Orange circular final sub-circuit cabling | 25 | lin m | 0 | 0
5.05 | 3C + E 2.5mm² Cu PVC/PVC Orange circular final sub-circuit cabling | 100 | lin m | 0 | 0
5.06 | Cat 6, Polyethylene 4 Pair, gel filled underground data cable | 65 | Item | 0 | 0
| TOTAL - FINAL SUB-CIRCUIT CABLING & DATA CABLING |  |  |  | 0
Notes: Refer Summary Tab also for more information

## Elec_Lot 3 Car Park_SPB
SCHEDULE OF TENDERED LUMP SUM
Stage 1 - Completion - Separable Portion B
ELECTRICAL SERVICES IN LOT 3 CAR PARK - IF ORDERED
Priors Creek Development
Contract No. T-TRC2023-12
NOTE: the lump sum amounts are to include, supply, installation, testing and commissioning
ITEM No | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT ($)
SUMMARY
1 | PRELIMINARIES |  |  |  | 0
2 | CABLE ACCESS SYSTEM |  |  |  | 0
3 | ELECTRICAL RETICULATION AND SERVICES PEDESTALS |  |  |  | 0
4 | LIGHTING |  |  |  | 0
5 | POWER |  |  |  | 0
6 | FINAL SUB-CIRCUITS CABLING |  |  |  | 0
| TOTAL |  |  |  | 0 | tenderers to check all calculations
PRELIMINARIES
1.01 | Setting out of works | 1 | Item | 0 | 0
1.02 | Traffic Management | 1 | Item | 0 | 0
| TOTAL PRELIMINARIES |  |  |  | 0
CABLE ACCESS SYSTEM
2.01 | Trench LV & Comms only in verge. Excavate trench 1000 mm deep, 600 wide, sand, install conduit, sand fill, then backfill with tape and hard cover where required. Note 450 wide trenches and 700mm deep trenches are permissible where appropriate. | 196 | line m | 0 | 0
2.02 | Trench LV & Comms only in road reserve for TRC communications conduit. Excavate trench 1000 mm deep, 450 wide, sand, install conduit, sand fill, then backfill with tape and hard cover where required. | 23 | line m | 0 | 0
2.03 | 100mm HD uPVC underground conduit including conduit bends where required | 114 | line m | 0 | 0
2.04 | 50mm HD uPVC underground conduit including conduit bends where required | 74 | line m | 0 | 0
2.05 | 32mm HD uPVC underground conduit including conduit bends where required | 34 | line m | 0 | 0
2.06 | 50mm PVC underground communications conduit including conduit bends where required | 90 | line m | 0 | 0
2.07 | Cast In situ cable pit for MSB-L3 including RPEQ design and certification | 1 | Item | 0 | 0
2.08 | Preformed type 8 communications cable pit including lockable lid and concrete collar | 1 | Item | 0 | 0
#REF! |  |  | Item | 0 | 0
#REF! |  |  | Item | 0 | 0
#REF! |  |  | Item | 0 | 0
| TOTAL - CABLE ACCESS SYSTEM |  |  |  | 0
ELECTRICAL RETICULATION AND SERVICES PEDESTALS
3.01 | Consumers mains for Car Park Lot 3 (MSB-L3) | 23 | line m | 0 | 0
3.02 | Main Switchboard for Lot 1 (MSB-L3) | 1 | Item | 0 | 0
| TOTAL - ELECTRICAL RETICULATION AND SERVICES PEDESTALS |  |  |  | 0
LIGHTING
4.01 | type "H" luminaire | 5 | Item | 0 | 0
4.02 | Type "E" light pole including footing | 1 | Item | 0 | 0
4.03 | Type "F" light pole including footing | 3 | Item | 0 | 0
| TOTAL - LIGHTING |  |  |  | 0
POWER
5.01 | Single phase IP56 isolating switch with connection to irrigation controller | 2 | Item | 0 | 0
| TOTAL - POWER |  |  |  | 0
FINAL SUB-CIRCUIT CABLING
5.01 | 2C + E 2.5mm² Cu PVC/PVC Orange circular final sub-circuit cabling within pole | 75 | line m | 0 | 0
5.02 | 2C + E 2.5mm² Cu PVC/PVC Orange circular final sub-circuit cabling | 110 | line m | 0 | 0
| TOTAL - FINAL SUB-CIRCUIT CABLING |  |  |  | 0
Notes: Refer Summary Tab also for more information